## SUMMARY
Nelson Square - 1-51 Vaughan House
Nelson Square - 1-50 Vaughan House
ACCESS | 92000
ROOF WORKS | 96663
RAINWATER GOODS | 4704.75
COMMUNAL WALKWAYS | 20445.5
FABRIC REPAIRS | 34546.59
WINDOWS | 4200
DOORS | 76133.9885
KITCHENS | 80248.55
BATHROOM & WC | 65875
ELECTRIC TO DWELLING | 20100.15
EXTERNAL DECORATIONS | 124335.02
PROVISIONAL SUMS | 62500
VAUGHAN TA - DECORATIONS | 11085
TOTAL | 692837.5485
Nelson Square - 157 – 209 Applegarth House
Nelson Square - 157 – 209 Applegarth House
ACCESS | 90083
ROOF WORKS | 87633
RAINWATER GOODS | 4704.75
FABRIC REPAIRS | 33137.99
COMMUNAL WALKWAYS | 20445.5
DOORS | 87138.8595
KITCHENS | 120653.05
BATHROOM & WC | 76415
ELECTRIC TO DWELLING | 50731.8
DECORATIONS | 124335.02
PROVISIONAL SUMS | 62500
APPLEGARTH TA - DECORATIONS | 11085
TOTAL | 768862.9695
Nelson Squaren- 222 – 269 Helen Gladstone House
Nelson Squaren- 222 – 269 Helen Gladstone House
ACCESS | 63059
ROOF WORKS | 2000
RAINWATER GOODS | 7000
DOORS | 3550
KITCHENS | 83209
BATHROOM & WC | 31620
ELECTRICS TO DWELLING | 46340.7
DECORATIONS | 67639.95
FRA WORKS | 15778.5
PROVISIONAL SUMS | 41500
HELEN GLADSTONE TA - DECORATIONS | 6435
TOTAL | 368132.15
Sub-Total | 1829832.668
Prelims | 159500
Total | 1989332.668

## Access
Nelson Square - 1-51 Vaughan House
Access
WORKS | Framework Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and NBS Specification 2014.
ACCESS
Access for Works at Heights in line with the latest LBS Working at Heights document
Rates to include for:
a) Provision of all equipment necessary to allow access for execution of the works
b) Compliance with health and safety requirements including temporary signs to direct occupiers and public
c) Securing boards at lowest level to prevent unauthorised lifting and removal
d) Anti-intruder panels
e) Sheeting as required
f) Removal of access equipment on completion and making good as necessary
Access to works at height to the following:
1-51 Vaughan House | SSTAR1 | 1 | Item | 91500 | 91500
Extra over access for works at heights for carefully removing all satellite dishes and associated cabling and move to access / scaffolding if required, upon completion of the works disconnect and provide the residents with the satellite dishes and associated disconnected cabling | SSTAR2 | 1 | Item | 500 | 500
|  |  | Total to Tender Summary |  | 92000
Note on J17: Ryan Hardie: £7000 hoist allowance and design

## Roof Works
Nelson Square - 1-51 Vaughan House
Roof Works
ROOF WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with NBS specification 2014 as provided
ROOF WORKS
All Roofing Works to be priced in accordance with Appendix 6 - Langley Roof Specification & Recommendations
Roof Works To Main Roofs (ROOF 1, 2 and 3)
Strip existing roof covering and recover with a TA-30-W built up felt system as detailed within the Langley specification including insulation, upstands, termination bars, flashings etc. complete. All works undertaken in accordance with manufactures guidelines and Workmanship & Materials - NBS J41 Reinforced bitumen membrane roof coverings to recieve a 30 year insurance backed guarantee - as per the Langley Specification | RSTAR1 | 1 | item | 84420 | 84420
Strip off timber battens and felt. (allowance of 6nr courses)
Tank Rooms & Stairwell Roofs
Supply and Install Langley TA-30-C system including underlay and mineralised cap sheet to achieve a 30 year insurance backed guarantee. | RSTAR2 | 1 | item | 11130 | 11130
Strip existing system back to the original asphalt waterproofing and installing a new bitumnious membrane system | RSTAR3 | 1 | item | 1113 | 1113
|  |  | Total to tender summary |  | 96663

## Rainwater Goods
Nelson Square - 1-51 Vaughan House
Rainwater Goods
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and Materials and Workmanship.
RAINWATER INSTALLATION
Inspection
Flush through all integral rainwater pipes, gutters and the like and leave clear, including jetting down pipes. Fully test upon completion with water to ensure system is free flowing and there are no leaks throughout. (To all properties) |  |  | Item | 350 | 0
Isolated Repairs
Carry out coring to all downpipes and branches and check all connections. | RAIN1 | 1 | m | 939.75 | 939.75
Flush through all integral rainwater pipes and the like and leave clear, including jetting down pipes. Fully test upon completion with water to ensure system is free flowing and there are no leaks throughout. | RAIN2 | 1 | item | 3000 | 3000
Replace all cowls to match existing | RAIN3 | 9 | nr | 85 | 765
|  |  | Total to tender summary |  | 4704.75

## Asphalt (hidden)
Nelson Square - 1-51 Vaughan House
Asphalt
ASPHALT WORKS | Framework Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with NBS specification 2014 as provided
ASPHALT
TO WALKWAY GUTTERS/WAITING PLATFORM (PROVISIONAL QUANTITIES)
Prepare base and apply and lay new resin coating, Vulkem or equal to Walkway gutters (Waiting platform) inclusive forming all downstands, upstands, dressing into and forming of all chases, edge drips, dressing around balustrades, dressing into gutters and channels, and dressing around rainwater outlets, cleaning outlets, greasing gratings, replacement of defective or missing gratings and clearance of rainwater pipes etc. Provide 15-year insurance backed guarantee on completion. | AStar1 |  | m2 |  | 0
|  |  | Total to tender summary |  | 0

## Fabric Repairs
Nelson Square - 1-51 Vaughan House
Fabric Repairs
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with NBS specification 2014 item C41 as provided
FACADE CLEANING AND REPAIRS
BRICKWORK, BLOCKWORK, MASONRY RENDER AND BALCONIES
REPAIRS, RENEWALS AND ADAPTATIONS REPAIRS (PROVISIONAL QUANTITIES)
Carry out façade survey and provide written recommendation to CA and await instruction to proceed with any works | BR1 | 1 | item | 315 | 315
Clean general areas of existing brickwork.
Areas over 1.00m2. | BR2 | 100 | m2 | 2.2 | 220
Areas not exceeding 1.00m2. | BR3 | 50 | m2 | 2.2 | 110
Rake out joints of brickwork and repoint to match existing.
Areas over 1.00m2 | BR4 | 100 | m2 | 29.93 | 2993
Areas not exceeding 1.00m2. | BR5 | 75 | m2 | 36.75 | 2756.25
Cut out defective facing bricks and build in new half brick thick facing bricks, jointed and pointed all to match existing.
Patches over 1.00m2 | BR6 | 80 | m2 | 131.83 | 10546.4
Patches not exceeding 1.00m2 | BR7 | 60 | m2 | 131.83 | 7909.8
Single header | BR8 | 80 | nr | 6.59 | 527.2
Single stretcher | BR9 | 60 | nr | 6.59 | 395.4
Remove existing coal chute cover and brick-up redundant chute incorporating new brick to match existing
Patches over 1.00m2 | BR6 | 38 | m2 | 131.83 | 5009.54
Patches not exceeding 1.00m2 | BR7 | 20 | m2 | 131.83 | 2636.6
Single header | BR8 | 40 | nr | 6.59 | 263.6
Single stretcher | BR9 | 20 | nr | 6.59 | 131.8
CONCRETE WORKS
CONCRETE REPAIRS (SPECIFICATION C42) (Provisional Quantities)
Cleaning and testing
Clean all surfaces of concrete and render to remove all dirt algae, moss, lichens, vegetable growth by Jet Washing Only. Allow for all protection to adjacent properties and areas accessible by the public. (Specification C42/80 and C42/85)
To concrete areas generally | C1 | 200 | m2 | 3.3 | 660
Carry out full hammer test and visual inspection to all areas of concrete (Specification C42/110)
To concrete areas generally | C3 | 200 | m2 | 0.36 | 72
Note: See Provisional Allowance for any works if required
|  |  | Total to tender summary |  | 34546.59

## Communal Walkways
Nelson Square - 1-51 Vaughan House
Communal Walkways & Private Balconies
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with NBS specification 2014 item C41 as provided
Communal Walkways & Private Balconies
Works to Existing Metal Balustrading (Provisional Quantities)
Carefully remove and set aside for re-use concrete coping stones to both sides of support where balustrade steel work is rusted | CWSTAR1 | 120 | m | 21 | 2520
Break out any adhered concete around support post | CWSTAR2 | 50 | nr | 10.5 | 525
Shot blast base of support where it is encased in concrete back to bright metal | CWSTAR3 | 50 | nr | 100 | 5000
Note: Decorations included in Decorations
Where steel is defective, allow for welding in steel including a new base or 'legs' to match existing design. | CWSTAR4 | 50 | nr | 45.15 | 2257.5
Fit new coping stones where the existing has been damaged beyond re-use including providing a new cut out around the new steel to match existing | CWSTAR5 | 30 | m | 47.25 | 1417.5
Fill between the newly repaired post and the concrete coping with two pack mortar applied strictly in accordance with manufacturer instructions | CWSTAR6 | 30 | m | 12.6 | 378
Render Repairs
Cut out defective areas of render and repair with a suitable external render to match the existing finish. All works to be in accordance with Workmanship & Materials NBS M20 Plastered / Rendered / Roughcast Coatings
Areas over 1.00m2 | CWSTAR7 | 50 | m2 | 57.75 | 2887.5
Areas not exceeding 1.00m2. | CWSTAR8 | 80 | m2 | 68.25 | 5460
|  |  | Total to tender summary |  | 20445.5

## Windows
Nelson Square - 1-51 Vaughan House
Windows
WINDOW WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with NBS specification 2014 as provided
REPAIR COMMUNAL WINDOWS
Repair / Overhaul stairwell crittal windows and timber frames including ease and adjust together with rubbing down, associated rust treatment, priming and re-decorations (approx 20m x 3m) | WSTAR2 | 2 | item | 2100 | 4200
|  |  | Total to Tender Summary |  | 4200

## Doors
Nelson Square - 1-51 Vaughan House
Doors
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and NBS specification 2014 as provided within the tender documents
Carry out internal and external survey of each door, clearly referenced and scheduled all required repairs and recommendations and await instruction. | DSTAR1 | 53 | nr | 50 | 2650
Security and fire rated door sets/works for Major Works Partnership within London Borough of Southwark
Generally
All doors and door sets to have independent third party test certification for full door set up/door set to achieve required standards as set out in each section below. Test certification from UKAS accredited establishment (or similar and equal approved) must be held in either the name of the Service Provider and/or supplier and either or both parties must be named as the primary or secondary sponsor on the test certification. All test certification and back up data and paperwork to be submitted at time of tender. The use of global assessments will not be acceptable.
Suppliers, manufacturers and installers to provide full access to LBS and LBS Service Providers to all test data, back up paperwork, factory/shop premises and third party testing information for duration of contract. Provide signed letter of authorisation to enable full disclosure of any data held by third party testing company with tender return.
Suppliers, manufacturers and installers to fully comply with LBS sustainable procurement strategy requirements.
Allow in the tendered rates for removal from site of all debris arising from the works.
Protect all existing retained fixtures and fittings, Tenants and Residents carpets, decorations and the like for the duration of the works.
Non Fire Rated Security Doorsets
Manufacture, supply and install new solid timber (not chipboard or fibreboard) door in new timber frame. Frame to incorporate either hardwood cill/threshold and weather bar or DDA compliant level access threshold, door to be hardwood lipped on all 4 sides, hung on 1.5 pairs of 100mm steel butts with 2 no. hinge security bolts and incorporating as a minimum a concealed door closer, letter plate, inner flap and security cowl, 180 degrees spyhole, numerals to suit address, door security chain and weather board. Door and frame to be fully decorated to any standard BS RAL colour (Resident/Client choice). PAS24:2016 standard.
external/entrance door complete | DSTAR2 | 31 | nr | 2269.9215 | 70367.5665
Remove and dispose of external/grills to entrance doors | DSTAR3 | 12 | nr | 176.3685 | 2116.422
Remove and dispose of external roller shutter to F.E.D | DSTAR4 | 1 | nr | 500 | 500
Bin Store Doors
Contractor to arrange for a Third Party Accredited Fire Door specialist to report on the fire resisting standard of all bin store doors and provide report to CA for review | DSTAR5 | 1 | item | 500 | 500
|  |  | Total to Tender Summary |  | 76133.9885

## Kitchens
Nelson Square - 1-51 Vaughan House
Kitchens
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works as well as the Internal Work Survey as per NBS specification 2014 as provided
THE FOLLOWING ARE COMPOSITE WORKS FOR THE COMPLETE RENEWAL OF KITCHENS
Allow to undertake a validation survey of all internal elements of tenanted dwellings and provision of full report in format agreed with Client detailing age and condition of main components (heating, electrics, kitchen, bathroom & wc) inclusive of all access arrangements, digital photographs ( 10 no. per element of work) and recommendations for meeting decent homes as Specification M50 and N11 | K1 | 31 | per survey | Included | Included
All rates to include the following:
a) Disconnection of all hot and cold water supplies and wastes to all sinks, washing machines and dishwashers. Locking off electrical supply as required
b) Disconnection of all washing machine and dishwashers, setting aside and reconnection
c) Removal of all wall and base kitchen fittings and dispose of existing materials off site
d) Removal of all pipe and duct casings and dispose of existing materials off site
e) Removal of any existing floor coverings down to the original substrate and dispose of existing materials off site
f) Removal of all existing coverings (including but not limited to tiles, all wallpaper and polystyrene tiles) on wall and ceiling areas within the Kitchen area including internally of any storage cupboards and dispose of existing materials off site
g) All ceiling and wall areas to be made good and prepared ready for decorations within the kitchen including internally of any storage cupboards. Works to include hacking off all wall tiles and replastering and any skim coats where necessary to the satisfaction of the CA. Disposal of existing materials off site
h) Demolish larder unit and remove any shelving and the like from the larder and dispose of existing materials off site and make good to all surfaces disturbed
i) Removal of all sinks and dispose of existing materials off site
j) Removal of all redundant pipework and supports and dispose of existing materials off site
l) Make good floor and apply latex levelling compound or 6mm WBP Plywood to floors as appropriate
m) Provide and fix non slip vinyl flooring as per LBS specification complete including to any storage areas
n) Provide and fix white glazed ceramic wall tiles (three courses as splashback to all worktops including window cills as required and behind cooker and refrigerator space down to skirting level); with optional band course
o) Prepare all surfaces to the satisfaction of the CA and decorate all new and previously decorated surfaces including internally of any storage cupboards
p) Supply and fix all new wall and base kitchen fittings, worktops, shelving and accessories as specification and emerging standard. Works to include any adjustments/alterations to shelving/worktops/kitchen fittings and openings for cookers/washing machines/refrigerators/tumble dryers
q) Provide and fix sink complete with taps to suit water pressure, including any alterations as per LBS specifications
r) Renew all pipe and duct casings and provide new boxing to pipework where required and decorate as per LBS specification
s) Provide all necessary hot and cold water supplies, wastes and traps to all sinks, washing machines and dishwashers as required
t) Provide isolating valves to all hot and cold water supplies
u) Renew gas supplies to boiler and cooker position and provide cooker chain
v) Provide new power circuit and cooker supply
w) Allow for engraved switched spurs for all kitchen appliances
y) Provide and fix light fitting with low energy fluorescent light fitting
z) Electrical renewals to kitchen and alterations as specified and cross bonding the electrical supply
aa) Provide new consumer unit / mantel unit and skeleton board; inc. circuit breakers as required
bb) All works required to conceal electrical wiring inc. boarding out of walls as required
cc) Remove any size existing radiator in Kitchen, make good and decorate wall where disturbed, including any existing boxing and piping runs which serve the radiator. Dispose existing materials off site
dd) Renew any size radiator in Kitchen location to suit layout, inclusive of TRv & lockshield valves and dispose existing materials off site
ee) Re-instate duct riser with pre finished MDF sheet
ff) All works to existing door including door furniture, door overhaul, painting to both sides
gg) Where ironmongery not replaced in Kitchen, clean paint and grease
hh) Repair works to existing windows including decoration and replace window trims
ii) Relocation of heating and hot water time clock or programmer in line with power socket outlets
jj) Fitting residents cooker hood/splashback/fixtures and fittings, including return visits
kk) Remove all existing boxing and replace in 6mm ply, make good and decorate and dispose of existing materials off site
mm) New bayonet to resident new cooker
nn) Connect and test new gas cooker
oo)Testing of residents' appliances and installation on completion
pp) Test and commission all works on completion and provide all certification
qq) Removal of all existing skirting and provide and fix new 75x18mm chamfered skirting to all exposed walls, ensure making good to walls to provide a flat level surface and dispose of existing materials off site
Renew Kitchen complete
Kitchen to bedsit dwelling | K2 | 3 | nr | 3600 | 10800
Kitchen to two bed dwelling | K4 | 8 | nr | 3600 | 28800
Kitchen to three bed dwelling | K5 | 8 | nr | 3750 | 30000
Additional Works
Provide new 100mm mechanical extract fan and fused spurs with humidistat including core drilling hole or replacement glazing, include for removal of existing fan and disposal. | K13 | 19 | nr | 240.45 | 4568.55
Upgrade of Kitchen doors to FD30; (for full renewal where missing) including frame, furniture and architrave | K15 | 19 | nr | 320 | 6080
|  |  | Total to tender summary |  | 80248.55

## Bathroom & WC
Nelson Square - 1-51 Vaughan House
Bathrooms & WC
WORKS | Ref | Quantity | UNIT | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works as well as the Internal Work Survey as per NBS specification 2014 as provided
THE FOLLOWING ARE COMPOSITE WORKS FOR THE COMPLETE RENEWAL OF BATHROOMS
Allow to undertake a validation survey of all internal elements of tenanted dwellings and provision of full report in format agreed with Client detailing age and condition of main components (heating, electrics, kitchen, bathroom & wc) inclusive of all access arrangements, digital photographs ( 10 no. per element of work) and recommendations for meeting decent homes | B1 | 25 | Per survey | Included | Included
All rates to Include the following:
a) Disconnection of all hot and cold water supplies and wastes to all sinks. Locking off electrical supply as required
b) Removal of any existing floor coverings down to the original substrate and dispose of existing materials off site
c) Removal of all existing coverings (including but not limited to wallpaper and polystyrene tiles) on wall and ceiling areas within the bathroom including any storage cupboards and dispose of existing materials off site
d) All ceiling and wall areas to be made good and prepared to the satisfaction of the CA ready for decorations within the bathroom including internally of any storage cupboards. Works to include hacking off and replastering and any skim coats where necessary to the satisfaction of the CA. Disposal of existing materials off site
e) Removal of all existing sanitary appliances and dispose of existing appliances off site
f) Removal of all redundant pipework and supports including electrics boxing and dispose of existing materials off site
g) Removal of all existing skirting and provide and fix new 75x18mm chamfered skirting to all exposed walls, ensure making good to walls to provide a flat level surface and dispose of existing materials off site
h) Tenants' fittings including but not limited to towel rails, cupboards, toilet roll holders, mirrors, shelves, curtain hooks etc are to be removed, set aside and refixed on completion
i) Make good floor and apply latex levelling compound or 6mm WBP Plywood to floors as appropriate
j) Provide and fix non slip vinyl flooring complete including any storage
k) Provide white glazed ceramic wall tiles (full height to bath; number of courses as splashback to basin), with option for band course, around the bath tub, and between door reveal and edge of bath tub.
l) Prepare all surfaces to the satisfaction of the CA and decorate all new and previously decorated surfaces including any storage cupboards
m) Renew bath complete with bath panel, wash hand basin complete with pedestal and taps and timber framework
n) Renew WC and cistern
o) Provide bath mixer tap with shower attachment, riser rail and brackets to wall (type dependent on hot and cold water pressure)
p) Provide shower rail/curtain/riser rail/grab bar
q) Renew or provide new pipe and duct casings to exposed pipework
r) Provide all necessary hot and cold water supplies, wastes and traps to all appliances
s) Provide all isolation service valves
t) Renew light fitting with low energy bulkhead fitting
u) Electrical renewals to bathroom and alterations as specified and cross bonding the electrical supply
v) Repair works to existing windows including decoration
w) Fill any cracks and surface defects with an interior filler or fine surface filler as requested by the CA
x) Test and commission all works on completion and provide all certification
y) Remove existing radiator of any size in bathroom, make good and decorate wall to the satisfaction of the CA where disturbed, including any existing boxing and piping runs which serve the radiator. Dispose existing materials off site
z) Renew radiator of any size in bathroom location to suit layout, inclusive of TRv & lockshield valves and dispose existing materials off site
aa) Re-instate duct riser with pre finished MDF sheet
bb) Remove all existing boxing and replace in 6mm ply, make good and decorate and dispose of existing materials off site
cc) Provide New boxing where required within the bathroom and decorate as per spec
dd) All works to existing door including door furniture, door overhaul, painting to both sides of the door
ee) Clean glass fan light to bathroom where not replaced
ff) Where ironmongery not replaced in Bathroom, clean paint and grease
gg) Cut back soil stacks to WC in Bathroom and Separate WC to allow reconnection
hh) Re-route stack/waste pipe
RENEW BATHROOM (WITH BATH, BASIN AND WC)
Bathroom to bedsit dwelling
Bathroom to bedsit dwelling | B8 | 5 | nr | 2200 | 11000
Bathroom to two bed dwelling | B10 | 10 | nr | 2200 | 22000
Bathroom to three bed dwelling | B11 | 10 | nr | 2200 | 22000
Additional Works
Provide new Duct Clean Valve and Fire Damper Extract fans to each bathroom in accordance with the performance specification forming part of this tender documentation (Appendix 10). | BStar1 | 25 | nr | 435 | 10875
|  |  | Total to tender summary |  | 65875

## Electrical
Nelson Square - 1-51 Vaughan House
Electrical Works
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with Appendix 5 Electrical Installation Specification and the NBS specification 2014 as provided. The Contractor will be expected to have included in his price for all works listed in job specific schedules and for all specified clauses in the LBS electrical specifications
ELECTRICAL INSTALLATIONS
THE FOLLOWING ARE COMPOSITE WORKS FOR THE COMPLETE ELECTRICAL INSTALLATION
Allow for full visual inspection of internal and external elements of dwellings and provision of full report in format agreed with Client detailing age and condition of main components (heating, electrics, kitchen, bathroom & wc) inclusive of all access arrangements, digital photographs (10 no. per element of work) and recommendations for meeting decent homes
Allow for all assistance to Client Officers/Consultants in order that they can undertake full scopings surveys for proposed works, including provision of technical information, provision of ladders, towers, access platforms and the like to facilitate surveys, taking of digital photos (up to 4 per dwelling), water testing, opening of manholes and service ducts and re-securing of same
The following schedule of rates are deemed to include the following:-
a) All labour, plant, equipment and materials to complete the works in accordance with the Specification.
b) All necessary temporary supplies required to maintain the existing supplies to the dwellings.
c) All builder’s work in connection with the installations including holes, chases, supports, lifting and replacing floor boards, removing and replacing access panels, ducts, etc. fire stopping and making good all structures, finishings and decorations disturbed.
d) Labelling of installations.
e) Moving and replacing resident’s fixtures, fittings and furnishings
f) Demonstrating the system to the Contract Administrator and resident.
g) Testing, commissioning and providing Operating and Maintenance Manuals.
All electrical works to be undertaken in full accordance with LBS electrical specification and current edition of IEE regulations.
Test existing installation and provide periodic domestic NICEIC certificate to Contract Administrator | ELEC1 | 25 | nr | 106.05 | 2651.25
Supply and Install LD2 alarm system for tenanted properties as per LBS Specification | ELEC2 | 1 | nr | 835.8 | 835.8
Supply and Install LD2 alarm system for leaseholder and freeholder properties as per LBS Specification | ELEC3 | 17 | nr | 835.8 | 14208.6
Ventilation Works -Extractors
Install 100mm diameter extractor fan through wall inclusive remove and dispose existing fan, core drilling, making good, grille to external elevation, connection to adjacent spur supply, humidistat controller, testing and advice to Resident on usage
Provisional Allowance (Kitchen or Bathroom) |  | 10 | nr | 240.45 | 2404.5
|  |  | Total to Tender Summary |  | 20100.15

## Finishes (hidden)
Nelson Square - 1-51 Vaughan House
FINISHES
EXTERNAL WORKS | Framework Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with Appendix 4 Survey of Existing Painted Surfaces and the NBS specification 2014 as provided
FLOOR, WALL & CEILING FINISHES
PLASTERBOARD AND THE LIKE
Skim coat of plaster
Walls or ceilings
exceeding 300 mm wide | SP885 | 16.2 | m2 |  | 0
27mm Gyproc Thermalboard finished for decoration
To stud partitions including any noggings required. | SPStar1 | 16.2 | m2 |  | 0
SECOND FIXINGS
Renew in wrot softwood
To any size and profile to match existing
skirting. | SP361 | 27 | m |  | 0
|  |  | Total to tender summary |  | 0

## Asbestos Removal (hidden)
Nelson Square - 1-51 Vaughan House
ASBESTOS REMOVAL
WORKS | Framework Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with NBS specification 2014 as provided
Asbestos Works
Removal of asbestos containing materials in accordance with Annex 3 - Management of Asbestos. Removal shall be by a "London Borough of Southwark approved licensed specialist contractor" under fully controlled conditions. Scaffolders erecting associated
Adjoining owners and their tenants shall be given adequate prior notification of the works, and the requirements for access. Obtain their written agreement. Provide CPM with copies of such agreements.
Label & Inspect all locations as stated within Appendix 3 - Alberta Street - Pennington Choices R&D Survey; | ASBSTAR1 | 1 | ITEM |  | 0
Removal and Disposal (Provisional Quantities)
Access panels and casings; reinstate with 12mm fireproof sheeting.
ne : 0.50 m2 | A1 | 10 | m2 |  | 0
over 0.50 but ne 1.00 m2 | A2 | 10 | m2 |  | 0
over 1.00 m2 | A3 | 10 | m2 |  | 0
Extra over stripping out for removal of asbestos based floor tiles.
to Kitchen | A4 | 7 | nr |  | 0
to Bathroom | A5 | 7 | nr |  | 0
Extra over stripping out for removal of asbestos based "Artex" type coatings to ceilings.
to Kitchen | A7 | 7 | nr |  | 0
to Bathroom | A8 | 7 | nr |  | 0
Asbestos removal to locations that impede external works.
AIB enclosure | A15 | 1 | nr |  | 0
AIB Shelf removed | A16 | 1 | nr |  | 0
Working Enclosure Formation (fully controlled conditions) including decontamination unit and disposal | A17 | 10 | Nr |  | 0
`
Working Area Formation (locally controlled conditions) including decontamination unit and disposal | A18 | 10 | Nr |  | 0
Remove from any location and dispose of the following asbestos including fixings
Soffit; any size | A32 | 9 | m |  | 0
|  |  | Total to tender summary |  | 0

## General Works (hidden)
Nelson Square - 1-51 Vaughan House
General Works
WORKS | Framework Ref | Quantity | UNIT | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and NBS specification 2014 as provided
GENERAL WORKS
PRE-ORDER INVESTIGATION WORKS
Attend property and execute complete roof condition survey and report findings to the CPM. | SP5 | 9 | Nr |  | 0
|  |  | Total to Tender Summary |  | 0

## Decorations
Nelson Square - 1-51 Vaughan House
Internal and External Decorations
EXTERNAL WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with Survey of Existing Painted Surfaces and the NBS specification 2014 as provided
DECORATIONS
Painting previously painted metal as Specification M60/130B (Provisional Quantities)
Metal handrails, balustrading, railings and the like
Areas exceeding 300mm | D1 | 110 | m2 | 12.08 | 1328.8
Areas not exceeding 300mm | D2 | 90 | m | 5.35 | 481.5
Painting new painted metal surface including precoating (Provisional Quantities)
Areas exceeding 300mm | DSTAR4 | 180 | m2 | 12.08 | 2174.4
Areas not exceeding 300mm | DSTAR5 | 120 | m | 5.78 | 693.6
Painting previously painted timber as Specification M60/130 (Provisional Quantities)
Timber, including doors, frames and containment
Areas exceeding 300mm (Cupboard Doors) | D7 | 54 | m2 | 11.03 | 595.62
Areas exceeding 300mm (Front Entrance Doors) | D7 | 76 | m2 | 11.03 | 838.28
Areas exceeding 300mm (Doors to Communal Area) | D7 | 54 | m2 | 11.03 | 595.62
Painting previously varnished timber as Specification M60/160 (Provisional Quantities)
Areas not exceeding 300mm | D12 | 200 | m | 6.3 | 1260
Class "O" (TOR coating or equal) overcoat painting system only as specification recommendation
Areas exceeding 300mm - Walls | D13 | 1638 | m2 | 18.9 | 30958.2
Areas exceeding 300mm - Soffits | D13 | 1290 | m2 | 18.9 | 24381
Areas not exceeding 300mm | D14 | 400 | m | 9.18 | 3672
Extra over above for stripping existing masonry / rendered coating
Areas exceeding 300mm | DSTAR7 | 2928 | m2 | 15.75 | 46116
Areas not exceeding 300mm | DSTAR8 | 400 | m | 8.4 | 3360
Paint new blockwork walls with 3 coats masonry paint (Provisional Quantities) | D15 | 800 | m2 | 9.85 | 7880
124335.02

## Provisional
Nelson Square - 1-51 Vaughan House
Provisional Sums
WORKS | Quantity | UNIT | Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and NBS specification 2014 as provided
Provisional Sums - TBC on site by C.I. if required.
Provisional Sum for Concrete works | 1 | PS | 5000 | 5000
Provisional Sum for Bin/Refuse doors & Hoppers | 1 | PS | 5000 | 5000
Provisional Sum for cracked and blown render be hacked off, re-rendered and decorated | 1 | PS | 10000 | 10000
Provisional Sum for fire stopping accessable risers | 1 | PS | 20000 | 20000
Provisional Sum for replacement of the cement planters and installation of uPVC hanging planters | 1 | PS | 2500 | 2500
Provisional Sum for Asbestos Removal if required following survey | 1 | PS | 5000 | 5000
Provisional Sum for any Drainage Works if required following suvrey | 1 | PS | 2500 | 2500
Provisional Sum for any repairs to the Rainwater System if required following survey | 1 | PS | 2500 | 2500
Provisional Sum for Works to Metal Balustrade and associated Communal Walkways works | 1 | PS | 5000 | 5000
Provisional Sum for any Window Repairs / Renewals | 1 | PS | 5000 | 5000
|  | Total to Tender Summary |  | 62500

## Access (2)
Nelson Square - 157 – 209 Applegarth House
Access
WORKS | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and NBS Specification 2014.
ACCESS
Access for Works at Heights in line with the latest LBS Working at Heights document
Rates to include for:
a) Provision of all equipment necessary to allow access for execution of the works
b) Compliance with health and safety requirements including temporary signs to direct occupiers and public
c) Securing boards at lowest level to prevent unauthorised lifting and removal
d) Anti-intruder panels
e) Sheeting as required
f) Removal of access equipment on completion and making good as necessary
Access to works at height to the following:
157-209 Applegarth House | 1 | Item | 89583 | 89583
Extra over access for works at heights for carefully removing all satellite dishes and associated cabling and move to access / scaffolding if required, upon completion of the works disconnect and provide the residents with the satellite dishes and associated disconnected cabling | 1 | Item | 500 | 500
|  | Total to Tender Summary |  | 90083

## Roof Works (2)
Nelson Square - 157 – 209 Applegarth House
Roof Works
ROOF WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with NBS specification 2014 as provided
ROOF WORKS
All Roofing Works to be priced in accordance with Appendix 6 - Langley Roof Specification & Recommendations
Roofs 1, 2, 3, Tank Room & Stairwrell Roofs
Overlay existing roof with a TA-30-C felt system to Roof 1, Roof 2 and Roof 3, two tankhouses and two stairwells as detailed in the attached Langley Specification including insulation, upstands, termination bars, flashings etc. complete. All works to be undertaken in accordance with manufacturers guidelines and Workmanship - NBS J41 Reinforced bitumen membrane roof coverings to recieve a 30 year insurance backed guarantee | RSTAR1 | 1 | item | 87633 | 87633
|  |  | Total to tender summary |  | 87633

## Rainwater Goods (2)
Nelson Square - 157 – 209 Applegarth House
Rainwater Goods
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and Materials and Workmanship.
RAINWATER INSTALLATION
Inspection
Flush through all integral rainwater pipes, gutters and the like and leave clear, including jetting down pipes. Fully test upon completion with water to ensure system is free flowing and there are no leaks throughout. (To all properties) |  |  | Item |  | 0
Isolated Repairs
Carry out coring to all downpipes and branches and check all connections. | RAIN1 | 1 | item | 939.75 | 939.75
Flush through all integral rainwater pipes and the like and leave clear, including jetting down pipes. Fully test upon completion with water to ensure system is free flowing and there are no leaks throughout. | RAIN2 | 1 | item | 3000 | 3000
Replace all cowls to match existing | RAIN3 | 9 | nr | 85 | 765
|  |  | Total to tender summary |  | 4704.75

## Fabric Repairs (2)
Nelson Square - 157 – 209 Applegarth House
Fabric Repairs
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with NBS specification 2014 item C41 as provided
FACADE CLEANING AND REPAIRS
BRICKWORK, BLOCKWORK, MASONRY RENDER AND BALCONIES
REPAIRS, RENEWALS AND ADAPTATIONS REPAIRS (PROVISIONAL QUANTITIES)
Carry out façade survey and provide written recommendation to CA and await instruction to proceed with any works | BR1 | 1 | item |  | 500
Clean general areas of existing brickwork.
Areas over 1.00m2. | BR2 | 100 | m2 | 2.2 | 220
Areas not exceeding 1.00m2. | BR3 | 50 | m2 | 5.49 | 274.5
Rake out joints of brickwork and repoint to match existing.
Areas over 1.00m2 | BR4 | 100 | m2 | 29.925 | 2992.5
Areas not exceeding 1.00m2. | BR5 | 75 | m2 | 36.75 | 2756.25
Cut out defective facing bricks and build in new half brick thick facing bricks, jointed and pointed all to match existing.
Patches over 1.00m2 | BR6 | 80 | m2 | 131.83 | 10546.4
Patches not exceeding 1.00m2 | BR7 | 60 | m2 | 109.86 | 6591.6
Single header | BR8 | 80 | nr | 6.59 | 527.2
Single stretcher | BR9 | 60 | nr | 6.59 | 395.4
Remove existing coal chute cover and brick-up redundant chute incorporating new brick to match existing
Patches over 1.00m2 | BR6 | 38 | m2 | 131.83 | 5009.54
Patches not exceeding 1.00m2 | BR7 | 20 | m2 | 109.86 | 2197.2
Single header | BR8 | 40 | nr | 6.59 | 263.6
Single stretcher | BR9 | 20 | nr | 6.59 | 131.8
CONCRETE WORKS
CONCRETE REPAIRS (SPECIFICATION C42) (Provisional Quantities)
Cleaning and testing
Clean all surfaces of concrete and render to remove all dirt algae, moss, lichens, vegetable growth by Jet Washing Only. Allow for all protection to adjacent properties and areas accessible by the public. (Specification C42/80 and C42/85)
To concrete areas generally | C1 | 200 | m2 | 3.3 | 660
Carry out full hammer test and visual inspection to all areas of concrete (Specification C42/110)
To concrete areas generally | C3 | 200 | m2 | 0.36 | 72
Note: See Provisional Allowance for any works if required
|  |  | Total to tender summary |  | 33137.99

## Communal Walkways (2)
Nelson Square - 157 – 209 Applegarth House
Communal Walkways & Private Balconies
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with NBS specification 2014 item C41 as provided
Communal Walkways & Private Balconies
Works to Existing Metal Balustrading (Provisional Quantities)
Carefully remove and set aside for re-use concrete coping stones to both sides of support where balustrade steel work is rusted | CWSTAR1 | 120 | m | 21 | 2520
Break out any adhered concete around support post | CWSTAR2 | 50 | nr | 10.5 | 525
Shot blast base of support where it is encased in concrete back to bright metal | CWSTAR3 | 50 | nr | 100 | 5000
Note: Decorations included in Decorations
Where steel is defective, allow for welding in steel including a new base or 'legs' to match existing design. | CWSTAR4 | 50 | nr | 45.15 | 2257.5
Fit new coping stones where the existing has been damaged beyond re-use including providing a new cut out around the new steel to match existing | CWSTAR5 | 30 | m | 47.25 | 1417.5
Fill between the newly repaired post and the concrete coping with two pack mortar applied strictly in accordance with manufacturer instructions | CWSTAR6 | 30 | m | 12.6 | 378
Render Repairs
Cut out defective areas of render and repair with a suitable external render to match the existing finish. All works to be in accordance with Workmanship & Materials NBS M20 Plastered / Rendered / Roughcast Coatings
Areas over 1.00m2 | CWSTAR7 | 50 | m2 | 57.75 | 2887.5
Areas not exceeding 1.00m2. | CWSTAR8 | 80 | m2 | 68.25 | 5460
|  |  | Total to tender summary |  | 20445.5

## Doors (2)
Nelson Square - 157 – 209 Applegarth House
Doors
WORKS | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and NBS specification 2014 as provided within the tender documents
Security and fire rated door sets/works for Major Works Partnership within London Borough of Southwark
Generally
All doors and door sets to have independent third party test certification for full door set up/door set to achieve required standards as set out in each section below. Test certification from UKAS accredited establishment (or similar and equal approved) must be held in either the name of the Service Provider and/or supplier and either or both parties must be named as the primary or secondary sponsor on the test certification. All test certification and back up data and paperwork to be submitted at time of tender. The use of global assessments will not be acceptable.
Suppliers, manufacturers and installers to provide full access to LBS and LBS Service Providers to all test data, back up paperwork, factory/shop premises and third party testing information for duration of contract. Provide signed letter of authorisation to enable full disclosure of any data held by third party testing company with tender return.
Suppliers, manufacturers and installers to fully comply with LBS sustainable procurement strategy requirements.
Allow in the tendered rates for removal from site of all debris arising from the works.
Protect all existing retained fixtures and fittings, Tenants and Residents carpets, decorations and the like for the duration of the works.
Non Fire Rated Security Doorsets
Manufacture, supply and install new solid timber (not chipboard or fibreboard) door in new timber frame. Frame to incorporate either hardwood cill/threshold and weather bar or DDA compliant level access threshold, door to be hardwood lipped on all 4 sides, hung on 1.5 pairs of 100mm steel butts with 2 no. hinge security bolts and incorporating as a minimum a concealed door closer, letter plate, inner flap and security cowl, 180 degrees spyhole, numerals to suit address, door security chain and weather board. Door and frame to be fully decorated to any standard BS RAL colour (Resident/Client choice). PAS24:2016 standard.
External quality doors (any size) | 38 | nr | 2269.9215 | 86257.017
Remove and dispose of external/grills to entrance doors | 5 | nr | 176.3685 | 881.8425
|  | Total to Tender Summary |  | 87138.8595

## Kitchens (2)
Nelson Square - 157 – 209 Applegarth House
Kitchens
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works as well as the Internal Work Survey as per NBS specification 2014 as provided
THE FOLLOWING ARE COMPOSITE WORKS FOR THE COMPLETE RENEWAL OF KITCHENS
Allow to undertake a validation survey of all internal elements of tenanted dwellings and provision of full report in format agreed with Client detailing age and condition of main components (heating, electrics, kitchen, bathroom & wc) inclusive of all access arrangements, digital photographs ( 10 no. per element of work) and recommendations for meeting decent homes as Specification M50 and N11 | K1 | 38 | per survey | Included | Included
All rates to include the following:
a) Disconnection of all hot and cold water supplies and wastes to all sinks, washing machines and dishwashers. Locking off electrical supply as required
b) Disconnection of all washing machine and dishwashers, setting aside and reconnection
c) Removal of all wall and base kitchen fittings and dispose of existing materials off site
d) Removal of all pipe and duct casings and dispose of existing materials off site
e) Removal of any existing floor coverings down to the original substrate and dispose of existing materials off site
f) Removal of all existing coverings (including but not limited to tiles, all wallpaper and polystyrene tiles) on wall and ceiling areas within the Kitchen area including internally of any storage cupboards and dispose of existing materials off site
g) All ceiling and wall areas to be made good and prepared ready for decorations within the kitchen including internally of any storage cupboards. Works to include hacking off all wall tiles and replastering and any skim coats where necessary to the satisfaction of the CA. Disposal of existing materials off site
h) Demolish larder unit and remove any shelving and the like from the larder and dispose of existing materials off site and make good to all surfaces disturbed
i) Removal of all sinks and dispose of existing materials off site
j) Removal of all redundant pipework and supports and dispose of existing materials off site
l) Make good floor and apply latex levelling compound or 6mm WBP Plywood to floors as appropriate
m) Provide and fix non slip vinyl flooring as per LBS specification complete including to any storage areas
n) Provide and fix white glazed ceramic wall tiles (three courses as splashback to all worktops including window cills as required and behind cooker and refrigerator space down to skirting level); with optional band course
o) Prepare all surfaces to the satisfaction of the CA and decorate all new and previously decorated surfaces including internally of any storage cupboards
p) Supply and fix all new wall and base kitchen fittings, worktops, shelving and accessories as specification and emerging standard. Works to include any adjustments/alterations to shelving/worktops/kitchen fittings and openings for cookers/washing machines/refrigerators/tumble dryers
q) Provide and fix sink complete with taps to suit water pressure, including any alterations as per LBS specifications
r) Renew all pipe and duct casings and provide new boxing to pipework where required and decorate as per LBS specification
s) Provide all necessary hot and cold water supplies, wastes and traps to all sinks, washing machines and dishwashers as required
t) Provide isolating valves to all hot and cold water supplies
u) Renew gas supplies to boiler and cooker position and provide cooker chain
v) Provide new power circuit and cooker supply
w) Allow for engraved switched spurs for all kitchen appliances
y) Provide and fix light fitting with low energy fluorescent light fitting
z) Electrical renewals to kitchen and alterations as specified and cross bonding the electrical supply
aa) Provide new consumer unit / mantel unit and skeleton board; inc. circuit breakers as required
bb) All works required to conceal electrical wiring inc. boarding out of walls as required
cc) Remove any size existing radiator in Kitchen, make good and decorate wall where disturbed, including any existing boxing and piping runs which serve the radiator. Dispose existing materials off site
dd) Renew any size radiator in Kitchen location to suit layout, inclusive of TRv & lockshield valves and dispose existing materials off site
ee) Re-instate duct riser with pre finished MDF sheet
ff) All works to existing door including door furniture, door overhaul, painting to both sides
gg) Where ironmongery not replaced in Kitchen, clean paint and grease
hh) Repair works to existing windows including decoration and replace window trims
ii) Relocation of heating and hot water time clock or programmer in line with power socket outlets
jj) Fitting residents cooker hood/splashback/fixtures and fittings, including return visits
kk) Remove all existing boxing and replace in 6mm ply, make good and decorate and dispose of existing materials off site
mm) New bayonet to resident new cooker
nn) Connect and test new gas cooker
oo)Testing of residents' appliances and installation on completion
pp) Test and commission all works on completion and provide all certification
qq) Removal of all existing skirting and provide and fix new 75x18mm chamfered skirting to all exposed walls, ensure making good to walls to provide a flat level surface and dispose of existing materials off site
Renew Kitchen complete
Renew Kitchen complete
Kitchen to bedsit dwelling | K2 | 20 | nr | 3600 | 72000
Kitchen to one bed dwelling | K3 | 9 | nr | 3600 | 32400
Additional Works
Provide new 100mm mechanical extract fan and fused spurs with humidistat including core drilling hole or replacement glazing, include for removal of existing fan and disposal. | K13 | 29 | nr | 240.45 | 6973.05
Upgrade of Kitchen doors to FD30; (for full renewal where missing) including frame, furniture and architrave | K15 | 29 | nr | 320 | 9280
|  |  | Total to tender summary |  | 120653.05

## Bathroom & WC (2)
Nelson Square - 157 – 209 Applegarth House
Bathrooms & WC
WORKS | Ref | Quantity | UNIT | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works as well as the Internal Work Survey as per NBS specification 2014 as provided
THE FOLLOWING ARE COMPOSITE WORKS FOR THE COMPLETE RENEWAL OF BATHROOMS
Allow to undertake a validation survey of all internal elements of tenanted dwellings and provision of full report in format agreed with Client detailing age and condition of main components (heating, electrics, kitchen, bathroom & wc) inclusive of all access arrangements, digital photographs ( 10 no. per element of work) and recommendations for meeting decent homes | B1 | 38 | Per survey | Included | Included
All rates to Include the following:
a) Disconnection of all hot and cold water supplies and wastes to all sinks. Locking off electrical supply as required
b) Removal of any existing floor coverings down to the original substrate and dispose of existing materials off site
c) Removal of all existing coverings (including but not limited to wallpaper and polystyrene tiles) on wall and ceiling areas within the bathroom including any storage cupboards and dispose of existing materials off site
d) All ceiling and wall areas to be made good and prepared to the satisfaction of the CA ready for decorations within the bathroom including internally of any storage cupboards. Works to include hacking off and replastering and any skim coats where necessary to the satisfaction of the CA. Disposal of existing materials off site
e) Removal of all existing sanitary appliances and dispose of existing appliances off site
f) Removal of all redundant pipework and supports including electrics boxing and dispose of existing materials off site
g) Removal of all existing skirting and provide and fix new 75x18mm chamfered skirting to all exposed walls, ensure making good to walls to provide a flat level surface and dispose of existing materials off site
h) Tenants' fittings including but not limited to towel rails, cupboards, toilet roll holders, mirrors, shelves, curtain hooks etc are to be removed, set aside and refixed on completion
i) Make good floor and apply latex levelling compound or 6mm WBP Plywood to floors as appropriate
j) Provide and fix non slip vinyl flooring complete including any storage
k) Provide white glazed ceramic wall tiles (full height to bath; number of courses as splashback to basin), with option for band course, around the bath tub, and between door reveal and edge of bath tub.
l) Prepare all surfaces to the satisfaction of the CA and decorate all new and previously decorated surfaces including any storage cupboards
m) Renew bath complete with bath panel, wash hand basin complete with pedestal and taps and timber framework
n) Renew WC and cistern
o) Provide bath mixer tap with shower attachment, riser rail and brackets to wall (type dependent on hot and cold water pressure)
p) Provide shower rail/curtain/riser rail/grab bar
q) Renew or provide new pipe and duct casings to exposed pipework
r) Provide all necessary hot and cold water supplies, wastes and traps to all appliances
s) Provide all isolation service valves
t) Renew light fitting with low energy bulkhead fitting
u) Electrical renewals to bathroom and alterations as specified and cross bonding the electrical supply
v) Repair works to existing windows including decoration
w) Fill any cracks and surface defects with an interior filler or fine surface filler as requested by the CA
x) Test and commission all works on completion and provide all certification
y) Remove existing radiator of any size in bathroom, make good and decorate wall to the satisfaction of the CA where disturbed, including any existing boxing and piping runs which serve the radiator. Dispose existing materials off site
z) Renew radiator of any size in bathroom location to suit layout, inclusive of TRv & lockshield valves and dispose existing materials off site
aa) Re-instate duct riser with pre finished MDF sheet
bb) Remove all existing boxing and replace in 6mm ply, make good and decorate and dispose of existing materials off site
cc) Provide New boxing where required within the bathroom and decorate as per spec
dd) All works to existing door including door furniture, door overhaul, painting to both sides of the door
ee) Clean glass fan light to bathroom where not replaced
ff) Where ironmongery not replaced in Bathroom, clean paint and grease
gg) Cut back soil stacks to WC in Bathroom and Separate WC to allow reconnection
hh) Re-route stack/waste pipe
RENEW BATHROOM (WITH BATH, BASIN AND WC)
Bathroom to bedsit dwelling
Bathroom to bedsit dwelling | B8 | 20 | nr | 2200 | 44000
Bathroom to one bed dwelling | B9 | 9 | nr | 2200 | 19800
RENEW SEPARATE WC (WITH BASIN AND WC ONLY)
Separate WC to one bed dwelling | B23 |  | nr
Additional Works
Provide new Duct Clean Valve and Fire Damper Extract fans to each bathroom in accordance with the performance specification forming part of this tender documentation (Appendix 10). | BSTAR1 | 29 | nr | 435 | 12615
|  |  | Total to tender summary |  | 76415

## Electrical (2)
Nelson Square - 157 – 209 Applegarth House
Electrical Works
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with Appendix 5 Electrical Installation Specification and the NBS specification 2014 as provided. The Contractor will be expected to have included in his price for all works listed in job specific schedules and for all specified clauses in the LBS electrical specifications
ELECTRICAL INSTALLATIONS
THE FOLLOWING ARE COMPOSITE WORKS FOR THE COMPLETE ELECTRICAL INSTALLATION
Allow for full visual inspection of internal and external elements of dwellings and provision of full report in format agreed with Client detailing age and condition of main components (heating, electrics, kitchen, bathroom & wc) inclusive of all access arrangements, digital photographs (10 no. per element of work) and recommendations for meeting decent homes
Allow for all assistance to Client Officers/Consultants in order that they can undertake full scopings surveys for proposed works, including provision of technical information, provision of ladders, towers, access platforms and the like to facilitate surveys, taking of digital photos (up to 4 per dwelling), water testing, opening of manholes and service ducts and re-securing of same
The following schedule of rates are deemed to include the following:-
a) All labour, plant, equipment and materials to complete the works in accordance with the Specification.
b) All necessary temporary supplies required to maintain the existing supplies to the dwellings.
c) All builder’s work in connection with the installations including holes, chases, supports, lifting and replacing floor boards, removing and replacing access panels, ducts, etc. fire stopping and making good all structures, finishings and decorations disturbed.
d) Labelling of installations.
e) Moving and replacing resident’s fixtures, fittings and furnishings
f) Demonstrating the system to the Contract Administrator and resident.
g) Testing, commissioning and providing Operating and Maintenance Manuals.
All electrical works to be undertaken in full accordance with LBS electrical specification and current edition of IEE regulations.
Test existing installation and provide periodic domestic NICEIC certificate to Contract Administrator | ELEC1 | 38 | nr | 106.05 | 4029.9
Supply and Install LD2 alarm system for tenanted properties as per LBS Specification | ELEC2 | 38 | nr | 835.8 | 31760.4
Supply and Install LD2 alarm system for leaseholder and freeholder properties as per LBS Specification | ELEC3 | 15 | nr | 835.8 | 12537
Ventilation Works - Extractors
Install 100mm diameter extractor fan through wall inclusive remove and dispose existing fan, core drilling, making good, grille to external elevation, connection to adjacent spur supply, humidistat controller, testing and advice to Resident on usage
Provisional Allowance (Kitchen or Bathroom) |  | 10 | nr | 240.45 | 2404.5
|  |  | Total to Tender Summary |  | 50731.8

## Decorations (2)
Nelson Square - 157 – 209 Applegarth House
Internal and External Decorations
EXTERNAL WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with Survey of Existing Painted Surfaces and the NBS specification 2014 as provided
DECORATIONS
Painting previously painted metal as Specification M60/130B (Provisional Quantities)
Metal handrails, balustrading, railings and the like
Areas exceeding 300mm | D1 | 110 | m2 | 12.08 | 1328.8
Areas not exceeding 300mm | D2 | 90 | m | 5.35 | 481.5
Painting new painted metal surface including precoating (Provisional Quantities)
Areas exceeding 300mm | DSTAR4 | 180 | m2 | 12.08 | 2174.4
Areas not exceeding 300mm | DSTAR5 | 120 | m | 5.78 | 693.6
Painting previously painted timber as Specification M60/130 (Provisional Quantities)
Timber, including doors, frames and containment
Areas exceeding 300mm (Cupboard Doors) | D7 | 54 | m2 | 11.03 | 595.62
Areas exceeding 300mm (Front Entrance Doors) | D7 | 76 | m2 | 11.03 | 838.28
Areas exceeding 300mm (Doors to Communal Area) | D7 | 54 | m2 | 11.03 | 595.62
Painting previously varnished timber as Specification M60/160 (Provisional Quantities)
Areas not exceeding 300mm | D12 | 200 | m | 6.3 | 1260
Class "O" (TOR coating or equal) overcoat painting system only as specification recommendation
Areas exceeding 300mm - Walls | D13 | 1638 | m2 | 18.9 | 30958.2
Areas exceeding 300mm - Soffits | D13 | 1290 | m2 | 18.9 | 24381
Areas not exceeding 300mm | D14 | 400 | m | 9.18 | 3672
Extra over above for stripping existing masonry / rendered coating
Areas exceeding 300mm | DSTAR7 | 2928 | m2 | 15.75 | 46116
Areas not exceeding 300mm | DSTAR8 | 400 | m | 8.4 | 3360
Paint new blockwork walls with 3 coats masonry paint (Provisional Quantities) | D15 | 800 | m2 | 9.85 | 7880
|  |  | Total to tender summary |  | 124335.02

## Provisional (2)
Nelson Square - 157 – 209 Applegarth House
Provisional Sums
WORKS | Quantity | UNIT | Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and NBS specification 2014 as provided
Provisional Sums - TBC on site by C.I. if required.
Provisional Sum for Concrete works | 1 | PS | 5000 | 5000
Provisional Sum for Bin/Refuse doors & Hoppers | 1 | PS | 5000 | 5000
Provisional Sum for cracked and blown render be hacked off, re-rendered and decorated | 1 | PS | 10000 | 10000
Provisional Sum for fire stopping accessable risers | 1 | PS | 20000 | 20000
Provisional Sum for replacement of the cement planters and installation of uPVC hanging planters | 1 | PS | 2500 | 2500
Provisional Sum for Asbestos Removal if required following survey | 1 | PS | 5000 | 5000
Provisional Sum for any Drainage Works if required following suvrey | 1 | PS | 2500 | 2500
Provisional Sum for any repairs to the Rainwater System if required following survey | 1 | PS | 2500 | 2500
Provisional Sum for Works to Metal Balustrade and associated Communal Walkways works | 1 | PS | 5000 | 5000
Provisional Sum for any Window Repairs / Renewals | 1 | PS | 5000 | 5000
|  | Total to Tender Summary |  | 62500

## Access (3)
Nelson Squaren- 222 – 269 Helen Gladstone House
Access
WORKS | Framework Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and NBS Specification 2014.
ACCESS
Access for Works at Heights in line with the latest LBS Working at Heights document
Rates to include for:
a) Provision of all equipment necessary to allow access for execution of the works
b) Compliance with health and safety requirements including temporary signs to direct occupiers and public
c) Securing boards at lowest level to prevent unauthorised lifting and removal
d) Anti-intruder panels
e) Sheeting as required
f) Removal of access equipment on completion and making good as necessary
Access to works at height to the following:
222-269 Gladstone House | SSTAR1 | 1 | Item | 62559 | 62559
Extra over access for works at heights for carefully removing all satellite dishes and associated cabling and move to access / scaffolding if required, upon completion of the works disconnect and provide the residents with the satellite dishes and associated disconnected cabling | SSTAR2 | 1 | Item | 500 | 500
|  |  | Total to Tender Summary |  | 63059
Note on G17: Ryan Hardie: £1500 allowance for design

## Roof Works (3)
Nelson Squaren- 222 – 269 Helen Gladstone House
Roof Works
ROOF WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with NBS specification 2014 as provided
ROOF WORKS
All Roofing Works to be priced in accordance with Appendix 6 - Langley Roof Specification & Recommendations
Roof Repairs
Remove and Replace Brownall Automatic Air Vents 'Type C AE-C' as per attached Brownall Specification. Contractor to allow for any isolation works associated with the replacement of the vents | RSTAR1 | 4 | item | 500 | 2000
|  |  | Total to tender summary |  | 2000

## Rainwater Goods (3)
Nelson Squaren- 222 – 269 Helen Gladstone House
Rainwater Goods
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and Materials and Workmanship.
RAINWATER INSTALLATION
Inspection
Flush through all integral rainwater pipes, gutters and the like and leave clear, including jetting down pipes. Fully test upon completion with water to ensure system is free flowing and there are no leaks throughout. (To all properties) |  |  | Item | 350 | 0
Isolated Repairs
Carry out coring to all downpipes including soil and vent pipes and branches and check all connections including cleaning of the gullies SUBJECT TO SURVEY | RAIN1 | 1 | item | 5000 | 5000
Flush through all integral rainwater pipes and the like and leave clear, including jetting down pipes. Fully test upon completion with water to ensure system is free flowing and there are no leaks throughout. | RAIN2 | 1 | item | 2000 | 2000
|  |  | Total to tender summary |  | 7000

## Doors (3)
Nelson Squaren- 222 – 269 Helen Gladstone House
Doors
WORKS | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and NBS specification 2014 as provided within the tender documents
BALCONY DOOR SETS
Ease & Adjust including lubrication of existing doors to render fully operational on completion in accordance with Workmanship & Materials - NBS R12 Drainage | 44 | nr | 75 | 3300
FRONT ENTRANCE DOORS
Removal & Disposal and Making Good of the Metal Gate Installed across No. 24 | 1 | nr | 250 | 250
|  | Total to Tender Summary |  | 3550

## Kitchens (3)
Nelson Squaren- 222 – 269 Helen Gladstone House
Kitchens
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works as well as the Internal Work Survey as per NBS specification 2014 as provided
THE FOLLOWING ARE COMPOSITE WORKS FOR THE COMPLETE RENEWAL OF KITCHENS
Allow to undertake a validation survey of all internal elements of tenanted dwellings and provision of full report in format agreed with Client detailing age and condition of main components (heating, electrics, kitchen, bathroom & wc) inclusive of all access arrangements, digital photographs ( 10 no. per element of work) and recommendations for meeting decent homes as Specification M50 and N11 | K1 | 20 | per survey | Included | Included
All rates to include the following:
a) Disconnection of all hot and cold water supplies and wastes to all sinks, washing machines and dishwashers. Locking off electrical supply as required
b) Disconnection of all washing machine and dishwashers, setting aside and reconnection
c) Removal of all wall and base kitchen fittings and dispose of existing materials off site
d) Removal of all pipe and duct casings and dispose of existing materials off site
e) Removal of any existing floor coverings down to the original substrate and dispose of existing materials off site
f) Removal of all existing coverings (including but not limited to tiles, all wallpaper and polystyrene tiles) on wall and ceiling areas within the Kitchen area including internally of any storage cupboards and dispose of existing materials off site
g) All ceiling and wall areas to be made good and prepared ready for decorations within the kitchen including internally of any storage cupboards. Works to include hacking off all wall tiles and replastering and any skim coats where necessary to the satisfaction of the CA. Disposal of existing materials off site
h) Demolish larder unit and remove any shelving and the like from the larder and dispose of existing materials off site and make good to all surfaces disturbed
i) Removal of all sinks and dispose of existing materials off site
j) Removal of all redundant pipework and supports and dispose of existing materials off site
l) Make good floor and apply latex levelling compound or 6mm WBP Plywood to floors as appropriate
m) Provide and fix non slip vinyl flooring as per LBS specification complete including to any storage areas
n) Provide and fix white glazed ceramic wall tiles (three courses as splashback to all worktops including window cills as required and behind cooker and refrigerator space down to skirting level); with optional band course
o) Prepare all surfaces to the satisfaction of the CA and decorate all new and previously decorated surfaces including internally of any storage cupboards
p) Supply and fix all new wall and base kitchen fittings, worktops, shelving and accessories as specification and emerging standard. Works to include any adjustments/alterations to shelving/worktops/kitchen fittings and openings for cookers/washing machines/refrigerators/tumble dryers
q) Provide and fix sink complete with taps to suit water pressure, including any alterations as per LBS specifications
r) Renew all pipe and duct casings and provide new boxing to pipework where required and decorate as per LBS specification
s) Provide all necessary hot and cold water supplies, wastes and traps to all sinks, washing machines and dishwashers as required
t) Provide isolating valves to all hot and cold water supplies
u) Renew gas supplies to boiler and cooker position and provide cooker chain
v) Provide new power circuit and cooker supply
w) Allow for engraved switched spurs for all kitchen appliances
y) Provide and fix light fitting with low energy fluorescent light fitting
z) Electrical renewals to kitchen and alterations as specified and cross bonding the electrical supply
aa) Provide new consumer unit / mantel unit and skeleton board; inc. circuit breakers as required
bb) All works required to conceal electrical wiring inc. boarding out of walls as required
cc) Remove any size existing radiator in Kitchen, make good and decorate wall where disturbed, including any existing boxing and piping runs which serve the radiator. Dispose existing materials off site
dd) Renew any size radiator in Kitchen location to suit layout, inclusive of TRv & lockshield valves and dispose existing materials off site
ee) Re-instate duct riser with pre finished MDF sheet
ff) All works to existing door including door furniture, door overhaul, painting to both sides
gg) Where ironmongery not replaced in Kitchen, clean paint and grease
hh) Repair works to existing windows including decoration and replace window trims
ii) Relocation of heating and hot water time clock or programmer in line with power socket outlets
jj) Fitting residents cooker hood/splashback/fixtures and fittings, including return visits
kk) Remove all existing boxing and replace in 6mm ply, make good and decorate and dispose of existing materials off site
mm) New bayonet to resident new cooker
nn) Connect and test new gas cooker
oo)Testing of residents' appliances and installation on completion
pp) Test and commission all works on completion and provide all certification
qq) Removal of all existing skirting and provide and fix new 75x18mm chamfered skirting to all exposed walls, ensure making good to walls to provide a flat level surface and dispose of existing materials off site
Renew Kitchen complete
Kitchen to bedsit dwelling | K2 | 10 | nr | 3600 | 36000
Kitchen to one bed dwelling | K3 | 10 | nr | 3600 | 36000
Additional Works
Provide new 100mm mechanical extract fan and fused spurs with humidistat including core drilling hole or replacement glazing, include for removal of existing fan and disposal. | K13 | 20 | nr | 240.45 | 4809
Upgrade of Kitchen doors to FD30; (for full renewal where missing) including frame, furniture and architrave | K15 | 20 | nr | 320 | 6400
|  |  | Total to tender summary |  | 83209

## Bathroom & WC (3)
Nelson Squaren- 222 – 269 Helen Gladstone House
Bathrooms & WC
WORKS | Ref | Quantity | UNIT | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works as well as the Internal Work Survey as per NBS specification 2014 as provided
THE FOLLOWING ARE COMPOSITE WORKS FOR THE COMPLETE RENEWAL OF BATHROOMS
Allow to undertake a validation survey of all internal elements of tenanted dwellings and provision of full report in format agreed with Client detailing age and condition of main components (heating, electrics, kitchen, bathroom & wc) inclusive of all access arrangements, digital photographs ( 10 no. per element of work) and recommendations for meeting decent homes | B1 | 12 | Per survey | Included | Included
All rates to Include the following:
a) Disconnection of all hot and cold water supplies and wastes to all sinks. Locking off electrical supply as required
b) Removal of any existing floor coverings down to the original substrate and dispose of existing materials off site
c) Removal of all existing coverings (including but not limited to wallpaper and polystyrene tiles) on wall and ceiling areas within the bathroom including any storage cupboards and dispose of existing materials off site
d) All ceiling and wall areas to be made good and prepared to the satisfaction of the CA ready for decorations within the bathroom including internally of any storage cupboards. Works to include hacking off and replastering and any skim coats where necessary to the satisfaction of the CA. Disposal of existing materials off site
e) Removal of all existing sanitary appliances and dispose of existing appliances off site
f) Removal of all redundant pipework and supports including electrics boxing and dispose of existing materials off site
g) Removal of all existing skirting and provide and fix new 75x18mm chamfered skirting to all exposed walls, ensure making good to walls to provide a flat level surface and dispose of existing materials off site
h) Tenants' fittings including but not limited to towel rails, cupboards, toilet roll holders, mirrors, shelves, curtain hooks etc are to be removed, set aside and refixed on completion
i) Make good floor and apply latex levelling compound or 6mm WBP Plywood to floors as appropriate
j) Provide and fix non slip vinyl flooring complete including any storage
k) Provide white glazed ceramic wall tiles (full height to bath; number of courses as splashback to basin), with option for band course, around the bath tub, and between door reveal and edge of bath tub.
l) Prepare all surfaces to the satisfaction of the CA and decorate all new and previously decorated surfaces including any storage cupboards
m) Renew bath complete with bath panel, wash hand basin complete with pedestal and taps and timber framework
n) Renew WC and cistern
o) Provide bath mixer tap with shower attachment, riser rail and brackets to wall (type dependent on hot and cold water pressure)
p) Provide shower rail/curtain/riser rail/grab bar
q) Renew or provide new pipe and duct casings to exposed pipework
r) Provide all necessary hot and cold water supplies, wastes and traps to all appliances
s) Provide all isolation service valves
t) Renew light fitting with low energy bulkhead fitting
u) Electrical renewals to bathroom and alterations as specified and cross bonding the electrical supply
v) Repair works to existing windows including decoration
w) Fill any cracks and surface defects with an interior filler or fine surface filler as requested by the CA
x) Test and commission all works on completion and provide all certification
y) Remove existing radiator of any size in bathroom, make good and decorate wall to the satisfaction of the CA where disturbed, including any existing boxing and piping runs which serve the radiator. Dispose existing materials off site
z) Renew radiator of any size in bathroom location to suit layout, inclusive of TRv & lockshield valves and dispose existing materials off site
aa) Re-instate duct riser with pre finished MDF sheet
bb) Remove all existing boxing and replace in 6mm ply, make good and decorate and dispose of existing materials off site
cc) Provide New boxing where required within the bathroom and decorate as per spec
dd) All works to existing door including door furniture, door overhaul, painting to both sides of the door
ee) Clean glass fan light to bathroom where not replaced
ff) Where ironmongery not replaced in Bathroom, clean paint and grease
gg) Cut back soil stacks to WC in Bathroom and Separate WC to allow reconnection
hh) Re-route stack/waste pipe
RENEW BATHROOM (WITH BATH, BASIN AND WC)
RENEW BATHROOM (WITH BATH, BASIN AND WC)
Bathroom to bedsit dwelling
Bathroom to bedsit dwelling | B8 | 8 | nr | 2200 | 17600
Bathroom to one bed dwelling | B9 | 4 | nr | 2200 | 8800
RENEW SEPARATE WC (WITH BASIN AND WC ONLY)
Separate WC to one bed dwelling | B23 |  | nr
Additional Works
Provide new Duct Clean Valve and Fire Damper Extract fans to each bathroom in accordance with the performance specification forming part of this tender documentation (Appendix 10). | BSTAR1 | 12 | nr | 435 | 5220
|  |  | Total to tender summary |  | 31620

## Electrical (3)
Nelson Squaren- 222 – 269 Helen Gladstone House
Electrical Works
WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with Appendix 5 Electrical Installation Specification and the NBS specification 2014 as provided. The Contractor will be expected to have included in his price for all works listed in job specific schedules and for all specified clauses in the LBS electrical specifications
ELECTRICAL INSTALLATIONS
THE FOLLOWING ARE COMPOSITE WORKS FOR THE COMPLETE ELECTRICAL INSTALLATION
Allow for full visual inspection of internal and external elements of dwellings and provision of full report in format agreed with Client detailing age and condition of main components (heating, electrics, kitchen, bathroom & wc) inclusive of all access arrangements, digital photographs (10 no. per element of work) and recommendations for meeting decent homes
Allow for all assistance to Client Officers/Consultants in order that they can undertake full scopings surveys for proposed works, including provision of technical information, provision of ladders, towers, access platforms and the like to facilitate surveys, taking of digital photos (up to 4 per dwelling), water testing, opening of manholes and service ducts and re-securing of same
The following schedule of rates are deemed to include the following:-
a) All labour, plant, equipment and materials to complete the works in accordance with the Specification.
b) All necessary temporary supplies required to maintain the existing supplies to the dwellings.
c) All builder’s work in connection with the installations including holes, chases, supports, lifting and replacing floor boards, removing and replacing access panels, ducts, etc. fire stopping and making good all structures, finishings and decorations disturbed.
d) Labelling of installations.
e) Moving and replacing resident’s fixtures, fittings and furnishings
f) Demonstrating the system to the Contract Administrator and resident.
g) Testing, commissioning and providing Operating and Maintenance Manuals.
All electrical works to be undertaken in full accordance with LBS electrical specification and current edition of IEE regulations.
Test existing installation and provide periodic domestic NICEIC certificate to Contract Administrator | ELEC1 | 36 | nr | 106.05 | 3817.8
Supply and Install LD2 alarm system for tenanted properties as per LBS Specification | ELEC2 | 36 | nr | 835.8 | 30088.8
Supply and Install LD2 alarm system for leaseholder and freeholder properties as per LBS Specification | ELEC3 | 12 | nr | 835.8 | 10029.6
Ventilation Works -Extractors
Install 100mm diameter extractor fan through wall inclusive remove and dispose existing fan, core drilling, making good, grille to external elevation, connection to adjacent spur supply, humidistat controller, testing and advice to Resident on usage | ELEC4
Provisional Allowance (Kitchen or Bathroom) | ELEC5 | 10 | nr | 240.45 | 2404.5
|  |  | Total to Tender Summary |  | 46340.7

## Decorations (3)
Nelson Squaren- 222 – 269 Helen Gladstone House
Internal and External Decorations
EXTERNAL WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with Survey of Existing Painted Surfaces and the NBS specification 2014 as provided
DECORATIONS
PAINTING INTERNAL (Provisional Quantities)
Painting previously painted metal as Specification M60/130B (Provisional Quantities)
Metal handrails, balustrading, railings and the like
Areas exceeding 300mm | D1 | 180 | m2 | 12.16 | 2188.8
Areas not exceeding 300mm | D2 | 90 | m | 5.35 | 481.5
Painting new painted metal surface including precoating (Provisional Quantities)
Areas exceeding 300mm | DSTAR4 | 60 | m2 | 12.6 | 756
Areas not exceeding 300mm | DSTAR5 | 40 | m | 6.3 | 252
Painting previously painted timber as Specification M60/130 (Provisional Quantities)
Timber, including doors, frames and containment
Areas exceeding 300mm (Cupboard Doors) | D7 | 66 | m2 | 11.55 | 762.3
Areas exceeding 300mm (Entrance Doors) | D7 | 50 | m2 | 11.55 | 577.5
Areas exceeding 300mm (Doors to Communal Area) | D7 | 160 | m2 | 11.55 | 1848
Painting previously varnished timber as Specification M60/160 (Provisional Quantities)
Areas not exceeding 300mm | D12 | 50 | m | 6.3 | 315
Class "O" (TOR coating or equal) overcoat painting system only as specification recommendation
Areas exceeding 300mm - Walls | D13 | 925 | m2 | 18.9 | 17482.5
Areas exceeding 300mm - Soffits | D13 | 520 | m2 | 18.9 | 9828
Areas not exceeding 300mm | D14 | 400 | m | 9.18 | 3672
Extra over above for stripping existing masonry coating
Areas exceeding 300mm | DSTAR7 | 1445 | m2 | 15.75 | 22758.75
Areas not exceeding 300mm | DSTAR8 | 400 | m | 8.4 | 3360
Paint new blockwork walls with 3 coats masonry paint (Provisional Quantities) | D15 | 300 | m2 | 9.85 | 2955
Jet wash, preparation and redecoration existing soffits (exceeding 300mm) | C2 | 122 | m2 | 3.3 | 402.6
|  |  | Total to tender summary |  | 67639.95

## FRA WORKS (3)
Nelson Squaren- 222 – 269 Helen Gladstone House
General Works
WORKS | Quantity | UNIT | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and NBS specification 2014 as provided
GENERAL WORKS
FIRE SAFETY WORKS
Removed vegitation growth and cart away | 50 | m2 | 5 | 250
Infill around penetrations through walls / ceilings with inumescent mastic - minimum 60 minute fire resistance in accordance with W&M EXTERNAL ONLY | 1 | Item | 5000 | 5000
Install a manual override fail safe to the final exit. Including release button | 1 | Item | 1000 | 1000
Install One Fire Door 'keep closed' sign to each side lobby and staircase door | 73 | Nr | 10 | 730
Liaise with the telecom company to remove sounder device located outside Flat 269 | 1 | Item | Included | Included
Remove plastic packers and PU foam around the electrical intake room door and install mineral wool insulation, providing a intumescent mastic over the wool | 1 | Item | 350 | 350
Remove timber access panel doors serving the dry riser and pipework. Install new doors and frame to the dry riser ductwork to provide 30 minute fire resistance | 11 | nr | 750 | 8250
Remove existing glazing and install Georgina Wired Glass to fanlight to F.E.D of Flat 255 | 1 | nr | 125 | 125
Install one additional sheet of 12.5mm plasterboard to the fanlight of Flats 223 and 224 to provide 30minutes fire resistance, making good and prepare to receive new decoration | 2 | nr | 36.75 | 73.5
|  | Total to Tender Summary |  | 15778.5

## Provisional (3)
Nelson Squaren- 222 – 269 Helen Gladstone House
Provisional Sums
WORKS | Quantity | UNIT | Rate | Total to Tender Summary
Note: All works to be carried out in accordance with the Scope of Works and NBS specification 2014 as provided
Provisional Sums - TBC on site by C.I. if required.
Provisional Sum for Drainage Works; jetwashing/flushing to all pipework back to nearest manhole; testing to be carried out in accordance with NBS R12 Drainage |  | PROV | 3500 | 0
Provisional Sum for Fabric Repairs | 1 | PS | 5000 | 5000
Provisional Sum for Fire Stopping | 1 | PS | 10000 | 10000
Provisional Sum for Asbestos Removal following survey | 1 | PS | 5000 | 5000
Provisional Sum for the Georgian wire panels | 1 | PS | 10000 | 10000
Provisional Sum for any Drainage works following survey | 1 | PS | 2500 | 2500
Provisional Sum for any window works if required | 1 | PS | 5000 | 5000
Provisional Sum to replace automatic air vents | 1 | PS | 2000 | 2000
Provisional Sum to remove sounder advice | 1 | PS | 2000 | 2000
|  | Total to Tender Summary |  | 41500

## Applegarth TA - Decorations
Nelson Square - Applegarth House
Internal and External Decorations
EXTERNAL WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with Survey of Existing Painted Surfaces and the NBS specification 2014 as provided
DECORATIONS
Anti-Carbonation Paint Coatings / Elastomeric Coatings
Prepare all previously coated concrete surfaces in the immediate area of given repair and apply two coats of an anti-carbonation coating feathered into the surrounding painted surface. Colour to match existing unless otherwise instructed. | DSTAR1 | 355 | m2 | 15 | included in DSTAR2
Apply elastomeric coatings concrete repair system as specification M60/170A
Areas exceeding 300mm | DSTAR2 | 355 | m2 | 15 | 5325
Areas n.e. 300mm | DSTAR3 | 480 | m | 12 | 5760
|  |  |  | TOTAL | 11085

## Vaughan TA - Decorations
Nelson Square - Vaughan House
Internal and External Decorations
EXTERNAL WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with Survey of Existing Painted Surfaces and the NBS specification 2014 as provided
DECORATIONS
Anti-Carbonation Paint Coatings / Elastomeric Coatings
Prepare all previously coated concrete surfaces in the immediate area of given repair and apply two coats of an anti-carbonation coating feathered into the surrounding painted surface. Colour to match existing unless otherwise instructed. | DSTAR1 | 355 | m2 | 15 | Included in DSTAR2
Apply elastomeric coatings concrete repair system as specification M60/170A
Areas exceeding 300mm | DSTAR2 | 355 | m2 | 15 | 5325
Areas n.e. 300mm | DSTAR3 | 480 | m | 12 | 5760
|  |  |  | TOTAL | 11085

## Helen Gladston TA - Decorations
Nelson Square - Helen Gladstone House
Internal and External Decorations
EXTERNAL WORKS | Ref | Quantity | Unit | Tendered Rate | Total to Tender Summary
Note: All works to be carried out in accordance with Survey of Existing Painted Surfaces and the NBS specification 2014 as provided
DECORATIONS
Anti-Carbonation Paint Coatings / Elastomeric Coatings
Prepare all previously coated concrete surfaces in the immediate area of given repair and apply two coats of an anti-carbonation coating feathered into the surrounding painted surface. Colour to match existing unless otherwise instructed. | DSTAR1 | 145 | m2 | 15 | Included in DSTAR2
Apply elastomeric coatings concrete repair system as specification M60/170A
Areas exceeding 300mm | DSTAR2 | 145 | m2 | 15 | 2175
Areas n.e. 300mm | DSTAR3 | 355 | m | 12 | 4260
|  |  |  | TOTAL | 6435